## Summary
System | Size | Linear Feet
Fire-protection sprinkler | 1" | 232.4
Fire-protection sprinkler | 1-1/4" | 246.7
Fire-protection sprinkler | 1-1/2" | 417.9
Fire-protection sprinkler | 2" | 52.6
Fire-protection sprinkler | 4" | 77.9
Fire-protection sprinkler | 6" | 143.6
Fire-protection sprinkler | unsized | 63.5
Fire-protection sprinkler — total |  | 1234.6

## Detail
Network | System | Is Pipe | Counted | Confidence | Ambiguous | Linear Feet | % Page | Sizes | Reasoning
N0 | Fire-protection sprinkler | yes | yes | high | no | 409.7 | 32 | 1"=40, 1-1/4"=31, 1-1/2"=275, 2"=13, 6"=43, unsized=8 | Red network on the east wing with a 6" main feed, 1-1/2" cross-mains, and 1"/1-1/4" branch lines terminating at sprinkler heads — classic wet-pipe sprinkler tree layout on a fire protection floor plan.
N1 | Fire-protection sprinkler | yes | yes | high | no | 205.8 | 46 | 1"=14, 1-1/4"=24, 1-1/2"=130, 2"=4, 6"=18, unsized=16 | Blue network spanning 46% of the sheet horizontally but has 33 runs, a 6" main, and branching 1-1/2"/1-1/4"/1" runs consistent with a sprinkler system crossing multiple bays, not a matchline.
N2 | Fire-protection sprinkler | yes | yes | high | no | 181.9 | 26 | 1"=61, 1-1/4"=53, 4"=62, unsized=6 | Green network in the left classroom wing with a 4" main and 1"/1-1/4" branch lines — typical fire sprinkler feed/branch configuration for a separate zone.
N3 | Fire-protection sprinkler | yes | yes | high | no | 146 | 17 | 1"=14, 1-1/4"=66, 1-1/2"=13, 2"=14, 6"=14, unsized=25 | Orange network on the far left with a 6" supply main and 1"/1-1/4"/1-1/2"/2" branches, matching a sprinkler system serving the teacher workroom/classroom cluster.
N4 | Fire-protection sprinkler | yes | yes | high | no | 100.5 | 10 | 1"=51, 2"=22, 6"=24, unsized=4 | Purple/magenta network with a 6" main, 2" sub-main, and 1" branch lines serving a compact area — consistent with a sprinkler zone for the staff/restroom core.
N5 | Fire-protection sprinkler | yes | yes | high | no | 98.4 | 10 | 1-1/4"=62, 6"=34, unsized=2 | Teal network with a 6" main and 1-1/4" branches covering roughly 10% of the sheet — a discrete sprinkler zone with typical branch sizing.
N6 | Fire-protection sprinkler | yes | yes | high | no | 49.6 | 11 | 1"=25, 1-1/4"=11, 6"=11, unsized=2 | Pink/magenta network with a 6" section and 1"/1-1/4" branch runs serving a small area — consistent with a fire sprinkler sub-zone near the staff/workroom area.
N7 | Fire-protection sprinkler | yes | yes | medium | no | 42.8 | 8 | 1"=27, 4"=15 | Small olive/yellow-green network of only 5 runs with a 4" main and 1" branches — likely a short sprinkler branch or riser connection, consistent with fire sprinkler work on this sheet.

## Review
Review — confirm / not counted
NOT LABELED: 23 smaller networks beyond top 8 = 170 LF (raise --top to include them).
EXCLUDED as non-pipe by the style pass: 11 style(s) = 44,603 LF.
NOT REVIEWED (ranked below the --max-styles cap of 12): 10 style(s) = 128 LF — raise --max-styles to classify them.